## Slide 1
Palm Desert Campus
Cal State San Bernardino,
DRAFT MASTER PLAN MAY, 2016

## Slide 2
TO BE UPDATED

## Slide 3
EXISTING PDC
CAMPUS

## Slide 4
SCHEME 1
TIERED
CENTRAL SPINE

## Slide 5
SCHEME 2
COURTYARDS

## Slide 6
CENTRAL CORRIDOR
SCHEME 3

## Slide 7
THE PALM DESERT CAMPUS
DRAFT
MASTER PLAN

## Slide 8
ARCHITECTURE TO DISTINGUISH THE CAMPUS

## Slide 9
CAMPANILES AND CLOCK TOWERS

## Slide 10
Linear pedestrian spines

## Slide 11
Potential near term projects

## Slide 12
Library/campus centers

## Slide 13
Physical education/gymnasium-arena
Classrooms/Lecture halls

## Slide 14: Physical education/EVENTS CENTER

## Slide 15: Student center/food service

## Slide 16
CORRIDOR
Solar radiation study from April 1st to October 31st
High values of solar radiation in most outdoor areas in the east west axis

## Slide 17
Solar Impact North-South versus East West
On an outdoor space with a north south axis a portion of the space receives sun during the morning and another during the afternoon. The central area receives more heat overall.
With an east west axis most of the same space (a certain distance from the south building) receives sun all day.

## Slide 18
CORRIDOR
Wind direction = 315°
Wind Speed = 8.3 m/s
Wind can enter through some openings in the corridor space and expands towards the south opening.
N

## Slide 19
CORRIDOR
Wind direction = 315°
Wind Speed = 8.3 m/s
Buildings block much of the wind in the corridor, velocity increases closer to the large opening.
N

## Slide 20
SOLAR ENERGY

## Slide 21
SHADE

## Slide 22
VEGETATED SURFACES

## Slide 23
EVAPORATIVE COOLING CASE STUDIES

## Slide 24
EVAPORATIVE COOLING

## Slide 25
IMPROVING OUTDOOR COMFORT
COOL TOWER cools air entering at lower level while solar tower helps evacuate the air as it is warmed

## Slide 26
OUTDOOR TEACHING SPACES
Permeable shade blocks the sun and provides opportunity for air movement.
More shading to the south of occupied space.
Green roof cools by radiation the space below
Cool wall techniques on the south facades
Living roofs on south buildings
PV on north buildings.
Evaporative cooling conditions air at occupant level

## Slide 27
OUTDOOR ACTIVE LEARNING SPACE
Outdoor active learning spaces in which learning activities continue are created.

## Slide 28
TOOLS FOR SUSTAINABLE COMFORT

## Slide 29
PERFORMANCE DRIVEN DESIGN

## Slide 30
OVERLAY

## Slide 31
DRAFT MASTER PLAN MAY, 2016
Palm Desert Campus
Cal State San Bernardino

## Slide 34
ACTIVE PEDESTRIAN STREETS

## Slide 35
SCHEME 1
CENTRAL SPINE
B

## Slide 36
SCHEME 2
COURTYARDS
B

## Slide 37
Linear pedestrian spines

## Slide 39
ACTIVE PEDESTRIAN STREETS

## Slide 40: JOHN SPOOR BROOME LIBRARY CAL State Channel Islands
Library/campus center

## Slide 41: Tanimura and Antle Family Memorial Library California State University, Monterey Bay
Library/campus center

## Slide 43
CALIFORNIA STATE UNIVERSITY SAN BERNARDINO
MASTER PLAN STEERING COMMITTEE | MAY 4, 2016
FINAL MASTER PLAN